## Slide 1: Introducere in Biofizica pentru Inginerie

## Slide 2: Bibliografia recomandată
Biofizica medicală. Prelegeri. Exerciții. Dumitru Croitoru ș.a. Chișinău, 2013, Tip. Bons. Offices. 236 p.
Biofizica medicală. Lucrări practice. Demonstrații. Exerciții. Croitoru D. ș.a. Chișinău, 2017. Tip. Bons offices. 240 p.
Biofizică: Îndrumar pentru lucrările de laborator / Alexandr Corlăteanu; Chișinău, Tehnica-UTM, 2024, 140 p.
Rodney Cotterill. Biophysics. An Introduction. 2002
Basics of Medical Physics and Biophysics for electronic education of health professionals, Kukurova Elena et al. ASKLEPIOS, Bratislava, 2013
А.Н. Ремизов, А.Г.Максина, А.Я.Потапенко. Учебник по медицинской и биологической физике. Дрофа, Москва, 2003, 560 с.
В.О.Самойлов. Медицинская биофизика. Учебник для вузов. Санкт-Петербург, СпецЛит, 2013, 591 с.
М.Б. Баскаков, и др. Лекции по биофизике: учебное пособие. – Томск, Сибирский государственный медицинский университет, 2009. – 200 с.,
Рубин А.Ф. Биофизика в 2-х томах. 2000.

## Slide 3: What Is Biophysics ?
• este o punte între biologie și fizică
• este studiul sistemelor biologice și al proceselor biologice folosind metode bazate pe fizică sau pe principii fizice.
Cât de esențială este biofizica pentru progresul în biologie?
descoperă cum sunt aranjați atomii pentru a funcționa în ADN și proteine;
descoperă cum funcționează proteinele;
descoperă cum folosesc aceste structuri proteice pentru
a descoperi cum funcționează mașinile biologice, în sănătate și, de asemenea, în boli.

## Slide 4: What's Biophysics Anyway?
combină principii și metode din fizică pentru a studia sistemele biologice;
aplică concepte fizice (forțe, energie, termodinamică) pentru a înțelege viața la diferite scări;
cuprinde domenii de la molecule, celule, la organisme și ecosisteme
utilizează abordări cantitative pentru a măsura și modela fenomenele biologice.
Este domeniu interdisciplinar care leagă biologia, fizica, chimia, matematica și ingineria
Își propune să descopere mecanismele fundamentale care stau la baza proceselor biologice
A apărut ca un domeniu distinct la mijlocul secolului al XX-lea odată cu dezvoltarea de noi tehnologii

## Slide 5: The Big Picture: Where Biophysics Fits In
Biofizica este o ramură a științelor vieții care integrează principii și tehnici fizice
Complementează alte discipline biologice (biologie moleculară, biochimie, fiziologie)
Oferă o înțelegere cantitativă și mecanistică a sistemelor biologice
Reduce decalajul dintre științele fizice și științele vieții
Contribuie la diverse domenii, inclusiv medicină, bioinginerie și știința mediuluiJoacă un rol crucial în dezvoltarea de noi tehnologii și instrumente analitice. e.g.: tehnici de imagistică, biosenzori, modelare computațională

## Slide 6: Physics
Fizica (din greaca veche: φυσική (ἐπιστήμη), physikḗ (epistḗmē), „cunoașterea naturii”) este știința naturală care studiază materia, mișcarea și comportamentul acesteia în spațiu și timp și care studiază entitățile aferente energiei și forțelor.
Fizica este una dintre cele mai fundamentale discipline științifice, iar scopul său principal este de a înțelege cum se comportă universul.
Fizică: cunoașterea fenomenelor/forțelor fundamentale

## Slide 7: BIOLOGY
Termenul „biologie” derivă din cuvântul grecesc βίος, bios, „viață” și sufixul -λογία, -logia, „studiu al”.
Biologia este știința naturală care studiază viața și organismele vii, inclusiv structura lor fizică, procesele chimice, interacțiunile moleculare, mecanismele fiziologice, dezvoltarea și evoluția.
În ciuda complexității științei, există anumite concepte unificatoare care o consolidează într-un singur domeniu coerent.
Biologia recunoaște:
1. celula ca unitate fundamentală a vieții
2. genele ca unitate fundamentală a eredității
3. și evoluția ca motor care propulsează crearea și dispariția speciilor.
Organismele vii sunt sisteme deschise care supraviețuiesc prin transformarea energiei și scăderea entropiei lor locale (creând ordine) pentru a menține o condiție stabilă și vitală definită ca homeostazie (poate fi văzută ca un fel de ordine, un potențial).
Biologie: cunoașterea organismelor (vii) și a vieții lor
Viața: utilizarea energiei pentru supraviețuire (și evoluție)

## Slide 8: BIOPHYSICS
- Interdisciplinară: aplică abordările și metodele fizicii pentru a studia sistemele biologice.
- Multiscală: acoperă toate scalele de organizare biologică, de la molecule la celule, țesuturi, organe, organisme și populații.
- Multidisciplinară: Cercetarea biofizică se suprapune semnificativ cu biochimia, biologia moleculară, chimia fizică, fiziologia, nanotehnologia, bioingineria, biologia computațională, biomecanica și biologia sistemelor.
Biophysics: the physics of biological systems

## Slide 9: Why biophysics?
Biofizica moleculară abordează de obicei întrebări biologice similare cu cele din biochimie și biologie moleculară, căutând să descopere fizica din spatele fenomenelor biomoleculare.
Oamenii de știință din acest domeniu desfășoară cercetări care se ocupă de înțelegerea interacțiunilor dintre diferitele sisteme ale unei celule, inclusiv interacțiunile dintre ADN, ARN și biosinteza proteinelor, precum și modul în care aceste interacțiuni sunt reglate:
1. Înțelegerea structurilor
2. Înțelegerea interacțiunilor
3. Înțelegerea modului în care structurile și interacțiunile sunt reglate
O mare varietate de tehnici sunt utilizate pentru a răspunde la aceste întrebări

## Slide 10: Learn from the science of life to
1. Imitarea vieții, biomimetică
2. Bunăstare, fizică medicală

## Slide 11: Why biophysics?
Biomimetică: Pe lângă subiectele biofizice tradiționale (adică moleculare și celulare), cum ar fi biologia structurală sau cinetica enzimatică, biofizica modernă cuprinde o gamă extraordinar de largă de cercetare, de la bioelectronică la biologia cuantică, implicând atât instrumente experimentale, cât și teoretice.
Bioelectronică: implementarea de noi sisteme de procesare a informațiilor, senzori și actuatori
Biologie cuantică: procese din biologie explicate prin fizica cuantică, adică fotovoltaică (fotovoltaica biologică se găsește în plante, bogată în clorofiluri!!!)

## Slide 12: Why biophysics?
Fizica medicală, o ramură a biofizicii, este orice aplicație a fizicii în medicină sau asistență medicală, de la radiologie la microscopie și nanomedicină.
De exemplu, fizicianul Richard Feynman a teoretizat despre viitorul nanomedicinei. El a scris despre ideea unei utilizări medicale pentru mașinile biologice (vezi nanomașini).
Feynman și Albert Hibbs au sugerat că anumite mașini de reparare ar putea fi într-o zi reduse în dimensiuni până la punctul în care ar fi posibil (așa cum s-a exprimat Feynman) să „înghită doctorul”.
Ideea a fost discutată în eseul lui Feynman din 1959, „Există mult spațiu la fund”.

## Slide 13: Variations in proteins make people respond to drugs differently
Înțelegerea acestor diferențe deschide noi posibilități în proiectarea medicamentelor, diagnosticare și controlul bolilor.
În curând, medicamentele vor fi adaptate la predispoziția fiecărui pacient individual la efecte secundare.
Care sunt aplicațiile biofizicii?
• Aplicațiile biofizicii depind de nevoile societății.
• În secolul al XX-lea, s-au înregistrat progrese mari în tratarea bolilor.
Biofizica a contribuit la crearea unor vaccinuri puternice împotriva bolilor infecțioase.

## Slide 14: It described and controlled diseases of metabolism, such as diabetes.
• Biofizica a furnizat atât instrumentele, cât și înțelegerea pentru tratarea bolilor de creștere cunoscute sub numele de cancere.
• Metodele biofizice sunt din ce în ce mai utilizate pentru a satisface nevoile cotidiene, de la știința criminalistică la bioremediere.
• Biofizica ne oferă tehnologii de imagistică medicală, inclusiv RMN, scanări CAT și sonograme pentru diagnosticarea bolilor.
• Oferă metode de tratament care salvează vieți, cum ar fi dializa renală, radioterapia, defibrilatoarele cardiace și stimulatoarele cardiace.

## Slide 15: Biophysicists invented instruments for detecting, purifying, imaging, and manipulating chemicals and materials.
• Why Is Biophysics Important Right Now?
• Biofizica descoperă cum se pot modifica microorganismele pentru biocombustibil (înlocuind benzina și motorina) și bioelectricitate (înlocuind produsele petroliere și cărbunele pentru producerea de electricitate).
• Biofizica descoperă ciclurile biologice ale căldurii, luminii, apei, carbonului, azotului, oxigenului, căldurii și organismelor de pe planetă.

## Slide 16: Biophysics harnesses valorifica microorganisms to clean our water and to produce lifesaving drugs
• Instrumentație ȘI Metode Biofizice
• Sistemele de măsurare sunt utilizate pentru a furniza informații cantitative despre parametrii de importanță biologică.
• Acești parametri pot include biopotențiale din mușchi, neuroni, ochi, inimă sau creier, tensiune arterială sau forțe musculare.
• Semnalul poate lua diferite forme, cum ar fi mecanic sau electric.
• Semnalele electrice sunt cele mai populare și trebuie tratate corespunzător pentru a elimina semnalele nedorite și amplificate pentru a fi afișate.

## Slide 17: Examples of Electric Signals
• Electrical potentials of nerves.
• Electrical signals from muscles the electro- myogram.
• Electrical signal from the heart the electro- cardiogram.
• Electrical signal from the brain the electro-encephalogram.
• Electrical signal from the eye the electro-retinogram and the electro oculogram.

## Slide 18: Cardiovascular Instrumentation
• Bio potentials of the heart.
• Electrodes.
• Amplifiers.
• Patient monitoring.
• Defibrillators.
• Pacemakers.

## Slide 19: Applications Of Electricity And Magnetism In Medicine
• Electrical shock
• High frequency electricity in medicine.
• Low frequency electricity and magnetism in medicine.
• Current research involving electricity applied in the body.

## Slide 20: Sound In Medicine
• General properties of the sound.
• The body as a drum/toba (percussion in medicine).
• Ultrasound pictures of the body.
• Ultrasound measure motion.
• Physiological effects of ultrasound in therapy.
• The production of speech (phonation).

## Slide 21: Physics Of Ear And Hearing
• The outer ear.
• The middle ear.
• The inner ear.
• Sensitivity of the ears.
• Testing your hearing.
• Deafness and hearing aids.

## Slide 22: Light In Medicine
• Measurement of light and its units.
• Applications of visible light in medicine.
• Applications of ultraviolet and infrared light in medicine.
• Laser in medicine.
• Application of microscopes in medicine.

## Slide 23: Physics Of Eyes And Vision
• Focusing elements of eye.
• The retina the light detector of eye.
• How little light can you see?
• Diffraction effects on the eye.
• How sharp are your eyes?
• Defective vision and its correction.
• Color vision and chromatic aberration.
• Instruments used in ophthalmology.
https://www.youtube.com/watch?v=YcedXDN6a88

## Slide 24: Physics Of Diagnostic X-ray
• Production of X-ray beam.
• How X-ray are absorbed.
• Making an X-ray image.
• Radiation to patient from X-rays.
• Production live X-ray images fluoroscopy.
• X-ray slices of the body.
• Radiographs taken without film.

## Slide 25: Physics Of Radiation Therapy:
• The dose units used in radiotherapy are the rad and gray.
• Principles of radiation therapy.
• A short course in radiotherapy treatment planning.
• Megavoltage therapy.

## Slide 26: Heat And Cold In Medicine
• Physical basis of heat and temperature.
• Thermometry and temperature scales.
• Thermography mapping the body’s temperature.
• Heat therapy.
• Use of cold in medicine.
• Cryosurgery.

## Slide 27: Definition Of Measuring Process:
• Measurement is a process for comparing an unknown quantity with an accepted standard (calibrated) quantity.
• This process involves connecting a measuring instrument into the system and observing the response of instrument.
• Categories of measurements (Types)
There Are Three Main Types Of Measurements
• Direct measurement
• Indirect measurement
• Null measurement

## Slide 28: Direct Measurement
Direct measurements are made by holding the measured (required quantity to be measured) up to some calibrated standard and comparing the two.
A good example is the meter stick ruler used to measure and cut a piece of cable to the correct length

## Slide 29: Indirect Measurement
• Indirect measurements are made by measuring some thing other than the actual measured
• The most common example of indirect measurement is the blood pressure measurements

## Slide 30: Null Measurement
• Null measurements are made by comparing a calibrated source to an unknown measured and then adjust the reference until the difference between them become zero.

## Slide 31: Electronic Measurement System

## Slide 32: Generalized Medical (Measurement Instrumentation System
Conform OMS: „dispozitiv medical” înseamnă orice instrument, aparat, instrument, mașină, dispozitiv, implant, reactiv pentru utilizare in vitro, software, material sau alt articol similar sau înrudit, destinat de producător a fi utilizat, singur sau în combinație, la ființe umane, pentru unul sau mai multe dintre scopurile medicale specifice:
• diagnosis, prevention, monitoring, treatment, or alleviation of disease,
• diagnosis, monitoring, treatment, alleviation of, or compensation for an injury,
• investigation, replacement, modification, or support of the anatomy or of a physiological process,
• supporting or sustaining life,
• control of conception,
• disinfection of medical devices,
• providing information by means of in vitro examination of specimens derived from the human body;

## Slide 33: Generalized Medical (Measurement Instrumentation System
The major difference between this system of medical instrumentation and the conventional instrumentation system is that the source of the signals is living tissue or energy applied to living tissue.
The design of the instrument must match:
› Measurement needs (environmental conditions, safety, reliability, etc.).
› Instrument performance (speed, power, resolution, range, etc.).

## Slide 34: Biomedical Instrumentation Design

## Slide 35: What is Biomedical Instrumentation?
Biomedical instrumentation applies engineering and technology to solve medical problems in diagnosis, treatment, and disease prevention. The field combines principles of biophysics and biochemistry—where physics and chemistry meet biology—with medical and engineering practices.
Biomedical instrumentation measures biological signals such as ECG and EMG, aiding physicians in diagnosing and treating patients. Designing medical instruments requires understanding electronics and measurement techniques.

## Slide 36: Biomedical Instrumentation Design
Measurand: the physical quantity, property, or condition that the system measures. Human body acts as the source for measurand, and it generates bio-signals.
Types of biomedical measurands:
› Internal – Blood pressure.
› Body surface – ECG or EEG potentials.
› Peripheral – Infrared radiation.
› Offline – Extract tissue samples, blood analysis, or biopsy.
› Typical biomedical measurements quantities: Biopotential, pressure, flow, dimensions (imaging), displacement (velocity, acceleration, and force), impedance, temperature, and chemical concentration. The measurand may be restricted to an exact organ or anatomical structure.

## Slide 37: Biomedical Instrumentation Design
Sensor and transducer
› A sensor is a device that converts physical measurand to an electrical output, in contrast, a transducer is a device that converts one form of energy to another. The transducer produces a usable output depending on the measurand. The sensor is used to sense the signal from the source. It is used to interface the signal with the human.
› Sensor requirements:
› Selective – should respond to a specific form of energy in the measurand.
› Minimally invasive (invasive = requiring entry into a part of the body).
› Sensor should not affect the response of the living tissue. Most common types of sensors in biomedical systems: are displacement and pressure

## Slide 38: Biomedical Instrumentation Design
Many sensors have:
1. A primary sensing element such as diaphragm, converts pressure to displacement.
2. A variable conversion element, such as a strain gage, then converts displacement to an electrical voltage
3. Sometimes the sensitivity of the sensor can be adjusted over a wide range by altering the primary sensing element.
4. Many variable conversion elements need external electric power to obtain a sensor output

## Slide 39: Biomedical Instrumentation Design

## Slide 40: Biomedical Instrumentation Design
› Signal conditioning
▪ Signal Conditioning: This component refines the electrical output from transducers for display or recording. Signal conditioning typically includes amplification and filtering, along with analog-to-digital and digital-to-analog conversions, enhancing instrument sensitivity.
▪ General categories:
➢ Analog, digital, or mixed-signal signal conditioning
➢ Time/frequency/spatial domain processing (e.g., filtering)
➢ Calibration (adjustment of output to match the parameter measured)
➢ Compensation (remove undesirable secondary sensitivities)

## Slide 41: Biomedical Instrumentation Design
› Preprocessing:
› Usually, the sensor/transducer output had a range of millivolts, so it should be amplified initially (pre-amplification) in order to meet the hardware requirements for further processing.
› The gain of the amplifier on this stage depends strongly on the next stage's requirements.
Often the output is converted to digital form and then processed by specialized digital circuits or a microcomputer as there will be logic and arithmetic units.

## Slide 42: Biomedical Instrumentation Design
Logic and arithmetic control:
› The basic and complicated modes of calculations for the raw amplified data gathered from the patient’ s body through the sensor/transducer are performed.
› signal filtering adjustment, based on operator selection mode, mathematical manipulation between inputs to calculate required parameter and so on.

## Slide 43: Biomedical Instrumentation Design
› Postprocessing:
› Final processing is performed. Either based on manipulating the signal to match the requirement of the output elements or to adjust the scale of: time, frequency, and signal level for the real shape mode. Specialized digital circuits or a microcomputer are used to perform several functions like: average repetitive signal, reduce noise, and converting information from the time domain to the frequency domain.

## Slide 44: Biomedical Instrumentation Design
Display: It is used to provide a visual representation of the measured parameter or quantity.
Example: Chart recorder, Cathode Ray oscilloscope (CRO).
Sometimes alarms are used to hear the audio signals.
Example: Signals generated in Doppler Ultrasound Scanner used for Fetal Monitoring.

## Slide 45: Biomedical Instrumentation Design
Data Storage and Data Transmission:
Data storage is used to store the data and can be used for future reference. Recent days Electronic Health records are utilized in hospitals.
Data transmission is used in Telemetric systems, where data can be transmitted from one location to another remotely.

## Slide 46: Biomedical Instrumentation Design

## Slide 47: Key Players: Bio Meets Physics
Biophysicists have diverse backgrounds in physics, biology, chemistry, and engineering
Collaborations between biologists and physicists drive biophysics research
Biologists provide the biological questions and systems to study
  Contribute expertise in experimental design, data collection, and interpretation
Physicists bring quantitative skills and a unique perspective to biological problems
  Apply physical principles, mathematical modeling, and advanced instrumentation
Chemists and biochemists provide insights into molecular structures and interactions
Engineers develop new tools and technologies for biophysics research
Computational scientists and mathematicians contribute to data analysis and modeling

## Slide 48: Tools of the Trade: Biophysics Tech
Biophysics relies on a wide range of advanced technologies and techniques
Microscopy techniques allow visualization of biological structures at high resolution
  Examples: electron microscopy, fluorescence microscopy, atomic force microscopy
Spectroscopy methods probe molecular interactions and dynamics
  Examples: X-ray crystallography, NMR spectroscopy, Raman spectroscopy
Single-molecule techniques enable the study of individual biomolecules
  Examples: optical tweezers, magnetic tweezers, fluorescence resonance energy transfer (FRET)
Computational modeling and simulation tools predict and analyze biological systems
  Examples: molecular dynamics simulations, finite element analysis, bioinformatics algorithms
Microfluidic devices manipulate and analyze small volumes of biological samples
Biosensors and bioelectronics detect and measure biological signals
High-throughput screening platforms enable rapid testing of large numbers of samples

## Slide 49: Hot Topics in Biophysics Research
Protein folding and misfolding mechanisms related to diseases (Alzheimer's, Parkinson's)
Molecular motors and their roles in cellular transport and motility
Membrane biophysics, including ion channels, receptors, and signal transduction
Nucleic acid biophysics, such as DNA mechanics, RNA folding, and gene regulation
Single-cell biophysics, studying heterogeneity and dynamics within individual cells
Biophysics of the immune system, including antibody-antigen interactions and immune cell signaling
Neurobiophysics, investigating the physical basis of neural function and disorders
Biophysics of cancer, exploring the mechanical and physical properties of tumor cells and their microenvironment
Synthetic biology and the design of artificial biological systems with novel functions

## Slide 50: Real-World Applications
Drug discovery and development, using biophysical methods to identify and optimize drug candidates
Biomedical diagnostics, developing sensitive and specific diagnostic tools based on biophysical principles
Regenerative medicine, applying biophysical principles to engineer tissues and organs
Personalized medicine, using biophysical markers to tailor treatments to individual patients
Environmental monitoring, developing biosensors for detecting pollutants and toxins
Biofuel production, optimizing the efficiency of biological processes for renewable energy
Food science and technology, using biophysical methods to improve food quality and safety
Forensic science, applying biophysical techniques for DNA analysis and fingerprint detection
Biophysics-inspired materials, designing novel materials with properties derived from biological systems

## Slide 51: Challenges and Future Directions
Integrating vast amounts of biological data generated by high-throughput technologies
Developing new computational tools and algorithms for analyzing complex biological systems
Improving the spatial and temporal resolution of biophysical measurement techniques
Bridging the gap between in vitro and in vivo studies to better understand biological processes in their native context
Translating basic biophysical research findings into practical applications and therapies
Addressing the ethical and societal implications of biophysical research and its applications
Fostering interdisciplinary collaborations and training the next generation of biophysicists
Securing funding and resources for biophysics research in an increasingly competitive environment
Overcoming technical limitations in studying complex biological systems, such as the brain and the immune system

## Slide 52: De ce ar trebui să ne pese despre biofizica ? rec
Biophysics advances our fundamental understanding of life at multiple scales
Provides insights into the molecular basis of diseases and guides the development of new therapies
Enables the design of novel biomaterials and bio-inspired technologies with wide-ranging applications
Contributes to the development of personalized medicine and targeted drug delivery
Helps address global challenges, such as renewable energy production and environmental sustainability
Promotes interdisciplinary collaboration and innovation across scientific fields
Inspires curiosity and fascination about the physical principles underlying biological systems
Offers a quantitative and mechanistic perspective on the complexity of life
Prepares students for diverse careers in academia, industry, and government at the interface of biology and physics

## Slide 53: Directiile principale in biofizica
Biofizica electronica (cuantica)
Biofizica moleculara
Biofizica celulara
Biofizica sistemelor complexe
Bazele biofizice ale ecologiei ??? – propus de unii biofizicieni

## Slide 54: Biofizica electronică, sau bioelectronica
- un domeniu interdisciplinar care aplică fizica și electronica pentru a studia sistemele biologice și a integra molecule biologice în dispozitive electronice.
Implică utilizarea principiilor electronice pentru a înțelege fenomenele biologice precum funcția neuronală și aplicarea acestora pentru a crea tehnologii noi de diagnosticare, monitorizare și tratament.
Domeniile cheie includ studiul electronicii moleculare pentru biofizica monomoleculelor și dezvoltarea de dispozitive bio-interfațate, cum ar fi tranzistoarele cu efect de câmp, rezistențele și condensatoarele.

## Slide 55
Biofizica foloseşte aproape toate domeniile clasice şi moderne ale fizicii.
Biomecanica → diferitele tipuri de locomoţie animală până ie animală până la motilitatea celulară
Bioelectricitatea → ansamblul fenomenelor electrice din lumea vie, la nivel celular, tisular şi de organ
Biotermodinamica şi bioenergetica → generarea, stocarea, conversia energiei la nivel celular şi problemele energetice ale sistemelor biologice la nivel supraindividual
Biocibernetica → mecanismele reglării şi transmiterii de informaţii în sistemele biologice
Radiobiologia → fenomenele ce au loc la interacţiunea radiaţiei cu materia vie
Fenomenele fizice stau la baza funcţionării mecanismelor biologice!!